S/W Detailed Level Design

GLStation power-grid simulation platform

| Project Name | GLStation |
| --- | --- |
| Block Name | Grid simulation, import, CLI control, and solver |
| Author | Erik |
| Approver | Pending |
| Team | Team 10 |
| Document Date | 31 March 2026 |
| Version | 1.0 |

This document fills the supplied DLD template using the uploaded C++ implementation. Header files were not available in the working directory at generation time, so header mappings are inferred from include paths and source definitions.

# Revision History

| Version | Date | Revised contents | Author | Approver |
| --- | --- | --- | --- | --- |
| 1.0 | 31 Mar 2026 | Initial DLD prepared from uploaded source files. | Erik-Kristian Kohtala |  |

# Terms and Abbreviations

| Term | Description |
| --- | --- |
| DLD | Detailed Level Design document. |
| SRS | Software Requirements Specification referenced by the template. |
| CLI | Command-line interface used to drive the simulation. |
| OSM | OpenStreetMap data source used for grid import. |
| Y-Bus | Bus admittance matrix used by the load-flow solver. |
| AGC | Automatic generation control logic applied to generators. |
| UFLS | Under-frequency load shedding stages defined inside Engine. |
| PU | Per-unit electrical quantity used for voltage and impedance normalisation. |

# References

1. SW Requirements Specification referenced by the provided template.
2. Uploaded C++ implementation files for GLStation.
3. Internal comments in the implementation noting the intended Newton-Raphson style power-flow approach and future work areas.

# 1. Overview

GLStation is a C++ power-grid simulation application that combines a console interface, grid model, simulation engine, basic load-flow solving, scenario scheduling, file import/export, and optional live grid import from OpenStreetMap. The codebase supports two operating modes: loading a grid definition from grid.csv or constructing a fallback demonstration network when no external grid file is present.

The purpose of this DLD is to map the existing implementation into a maintainable technical design. It describes the main modules, class responsibilities, important methods, data flows, validation rules, and file mappings so that future releases can extend the simulator without losing architectural traceability.

Primary users are developers maintaining the simulator and advanced users operating it through the CLI to inspect components, import a city grid, run time-based simulations, export results, and trigger breaker or setpoint changes.

# 2. System Overview / Architectural Context

The implementation follows a layered structure with light coupling between modules.

| Layer | Main Elements | Responsibility |
| --- | --- | --- |
| Presentation | main.cpp | Reads user commands, prints dashboard and topology, triggers simulation actions, and exports views. |
| Simulation Control | Engine, ScenarioManager | Initialises the grid, advances ticks, applies control and protection logic, manages KPIs and events. |
| Power-System Model | Substation, Node, Line, Transformer, Generator, Load, Breaker, GridComponent | Represents the physical grid topology and component state. |
| Solver | PowerSolver | Builds the Y-bus matrix and iteratively updates node voltages and slack generation. |
| I/O and Integration | GridHandler, CSVHandler, JsonHandler, InputHandler, NetworkClient | Imports OSM data, parses JSON and CSV, normalises input, and performs HTTP requests. |
| Utility | Random | Provides deterministic pseudo-random numbers for load and generation profiles. |

## Dependency schematic

CLI (main.cpp)

-> Engine / GridHandler / InputHandler

-> Grid model classes and ScenarioManager

-> PowerSolver

-> CSV, JSON, HTTP, and random utility classes

# 3. UML Class Diagram (Technical Design)

A full graphical UML diagram was not embedded because the source set available at generation time did not include the header declarations. The logical class structure below captures the implemented relationships and can be converted directly into a formal UML diagram.

| Class | Relationships |
| --- | --- |
| GridComponent | Abstract/common base for all grid elements; supplies id, name, tick(), and toString(). |
| Substation | Inherits GridComponent; aggregates many shared_ptr<GridComponent> objects. |
| Node | Inherits GridComponent; holds base voltage and complex bus voltage. |
| Line | Inherits GridComponent; associates two Node objects (from, to). |
| Transformer | Inherits GridComponent; associates primary and secondary Node objects and tap settings. |
| Breaker | Inherits GridComponent; associates two Node objects and influences solver connectivity by open/closed state. |
| Generator | Inherits GridComponent; associates one connected Node and contributes active/reactive power and voltage targets. |
| Load | Inherits GridComponent; associates one connected Node and consumes power according to profile state. |
| Engine | Owns a collection of Substation objects and collaborates with ScenarioManager and PowerSolver. |
| ScenarioManager | Schedules deferred actions that are executed by tick value. |
| PowerSolver | Consumes Substation content, extracts nodes/branches/loads/generators, and updates electrical state. |
| GridHandler | Uses NetworkClient, InputHandler, JsonHandler, and CSVHandler to import and persist grid data. |
| main | Creates and drives Engine; invokes GridHandler and InputHandler based on commands. |

# 4. Class Specifications

| Class | Type | Description | Attributes | Methods |
| --- | --- | --- | --- | --- |
| GridComponent | Base class | Common identity and polymorphic interface for all grid objects. | m_id, m_name, static s_nextId | GridComponent(name), toString() |
| Substation | Grid entity | Container for grid components grouped as one station. | m_components | addComponent(), tick(), toString() |
| Node | Grid entity | Electrical bus with base voltage and complex operating voltage. | m_baseVoltage, m_voltage | setVoltage(), tick(), toString() |
| Line | Grid entity | Series branch between two nodes with impedance and current limit. | m_from, m_to, m_resistance, m_reactance, m_admittance, m_currentFlow, m_currentLimit | tick(), toString() |
| Transformer | Grid entity | Voltage-transforming branch with tap ratio and series impedance. | m_primary, m_secondary, m_resistance, m_reactance, m_tap, m_currentLimit, m_admittance, m_currentFlow | setTap(), tick(), getLosses(), getAdmittance(), toString() |
| Breaker | Grid entity | Switch element that opens or closes connectivity between two nodes. | m_from, m_to, m_isOpen | setOpen(), tick(), toString() |
| Generator | Grid entity | Power source with operating mode, control targets, and ramp/droop behaviour. | connected node, mode, profile, target/actual power, target voltage, Q/P bounds, droop, inertia, ramp rate, profile strength | applyDroopResponse(), tick(), toString(), setTargetP(), setTargetV(), setQLimits(), setPowerBounds() |
| Load | Grid entity | Power consumer with profile type, maximum power, current demand, and shed state. | connected node, max/current power, power factor, shed flag, profile, profile strength | tick(), toString(), setCurrentPower(), setProfile(), setShed() |
| Engine | Coordinator | Owns the simulation state, initialises the grid, advances time, and logs events/KPIs. | substations, currentTick, systemFrequency, generation/load/loss totals, event log, relay and reclose state, KPI fields | initialise(), tick(), createDemoGrid(), configureDemoProfiles(), processProtectionRelays(), updateFrequencyDynamics(), applyAGC(), exportVoltagesToCSV(), openBreakerById(), closeBreakerById(), setGenTargetPById(), setLoadPowerById(), runDeterministicDemoValidation() |
| ScenarioManager | Scheduler | Executes deferred event actions at designated ticks. | m_events | addEvent(), update(), clear(), getScheduledTicks(), getScheduledEventCount() |
| PowerSolver | Solver service | Builds the network admittance matrix and performs iterative voltage solution updates. | static s_yBus plus internal static node/load/generator lists | solve(), buildYBus(), runIteration(), updateSlackGeneratorPowerFromSolution(), invalidateYBus() |
| GridHandler | Import service | Imports OSM power data, sanitises names, and writes grid.csv. | No persistent state evident in source file | importCity(), fetchOsmData(), calculateDistance(), generateGridFile(), sanitiseName(), osmWayName(), getSuggestions() |
| CSVHandler | Utility/service | Parses and writes comma-separated rows. | No persistent state | trimField(), parseCSVLine(), writeRow() |
| JsonHandler | Utility/service | Parses JSON strings into an internal Value tree. | Value type with object/array/string/number/bool/null content | parse(), parseValue(), parseObject(), parseArray(), parseString(), parseNumber(), skipWhitespace() |
| InputHandler | Utility/service | Trims, normalises, and URL-encodes user input. | No persistent state | trim(), normaliseForComparison(), urlEncode() |
| NetworkClient | Integration service | Performs HTTP GET and POST operations; WinHTTP path is visible in source. | platform HTTP handle | get(), post(), constructor, destructor |
| Random | Utility | Deterministic pseudo-random number generation for profiles. | static s_state | init(), nextU64(), nextDouble(), range() |

## Class constraints and contracts

Node, Line, Transformer, Breaker, Generator, and Load rely on valid Node pointers. Their tick logic exits early when endpoints are missing.

Breaker::setOpen() and Transformer::setTap() invalidate the Y-bus so the next solve rebuilds network admittance.

PowerSolver::solve() assumes at least one node exists. When the bus list is empty, solving stops without updating voltages.

Engine::initialise() assumes either a valid grid.csv exists or the fallback demo grid can be created.

GridHandler::importCity() requires successful HTTP response and parseable OSM JSON before grid.csv generation can proceed.

# 5. Interfaces and Abstractions

| Interface / Abstraction | Purpose | Key Methods | Planned For (Release) |
| --- | --- | --- | --- |
| GridComponent (abstract polymorphic base) | Unifies identity, inspection, ticking, and string conversion across all grid objects. | tick(), toString(), getId(), getName() | Present now |
| Service-style static utilities | CSVHandler, JsonHandler, InputHandler, and Random are used as stateless utility abstractions rather than instantiated services. | parse/write/normalise/random methods | Present now |
| PowerSolver static service | Centralises electrical solving independent of the CLI. | solve(), invalidateYBus() | Present now |
| Potential future I/O interface | Network and file import are concrete. An interface would improve testability for offline simulation and mocked imports. | post(), get(), importCity() | Recommended next release |
| Potential future reporting/observer interface | Event log export and KPI reporting are embedded in Engine and main. A reporting abstraction would reduce UI coupling. | logEvent(), appendEventToCsv(), exportVoltagesToCSV() | Recommended next release |

# 6. Function Responsibilities

| Class | Method | Purpose | Input | Output | Notes |
| --- | --- | --- | --- | --- | --- |
| Engine | initialise() | Reset solver and KPI state, then load grid.csv or create fallback demo grid. | Existing files and in-memory state | Ready simulation model | Entry point for a fresh run. |
| Engine | tick() | Advance one simulation step, update component state, call solver, relays, AGC, scenarios, and KPIs. | Current tick and model state | Updated frequency, voltages, events, KPIs | Central orchestration method. |
| Engine | processProtectionRelays() | Trip or reclose components when thresholds are breached. | Measured line and frequency conditions | Breaker state changes and event log entries | Protection logic is simplified. |
| Engine | updateFrequencyDynamics() | Compute system frequency movement from generation-load mismatch. | Generation, load, loss totals | Updated system frequency | Feeds AGC and UFLS behaviour. |
| Engine | applyAGC() | Adjust generator targets using droop-like behaviour. | System frequency and generator state | Updated generator active power outputs | Depends on Generator behaviour. |
| PowerSolver | buildYBus() | Extract buses and branches and construct admittance matrix in per-unit form. | Substations and component topology | s_yBus and cached lists | Breakers can suppress a line path. |
| PowerSolver | runIteration() | Perform one numerical iteration of bus updates. | Current voltage state and settings | Convergence progress | Implementation notes admit unresolved accuracy issues. |
| PowerSolver | updateSlackGeneratorPowerFromSolution() | Back-calculate slack generation after voltage solution. | Solved voltages and power balance | Updated slack generator power | Keeps solved balance consistent. |
| GridHandler | importCity() | Request OSM data, extract substations and lines, and generate grid.csv. | City name | Success/failure flag | Main import pathway. |
| GridHandler | generateGridFile() | Serialise imported OSM content into simulator grid.csv records. | City name, OSM nodes and ways | grid.csv file | Creates nodes, lines, and substation rows. |
| JsonHandler | parse() | Transform raw JSON text into nested Value objects. | JSON string | Value tree | Used by GridHandler. |
| CSVHandler | parseCSVLine() | Split one CSV line into trimmed fields, respecting quoted values. | Line text | Vector of field strings | Supports grid.csv parsing. |
| InputHandler | normaliseForComparison() | Normalise CLI text for case-insensitive matching. | User command text | Normalised token | Used throughout main.cpp. |
| main | command loop | Interpret commands such as tree, list, inspect, run, import, and export. | STDIN commands | Console output and engine calls | Presentation layer logic. |

# 7. Operation Flow

## Simulation start

- main constructs Engine.

- Engine::initialise resets state.

- If grid.csv exists, CSVHandler parses rows and the engine instantiates substations, nodes, branches, loads, generators, transformers, and breakers.

- Otherwise Engine::createDemoGrid and configureDemoProfiles build a demonstration network.

## One simulation tick

- Engine updates scheduled events through ScenarioManager.

- Each Substation forwards tick() to contained components.

- PowerSolver rebuilds or reuses Y-bus and iteratively solves node voltages.

- Engine recomputes totals, adjusts frequency, applies AGC, and executes protection and load-shedding logic.

- KPIs and event log are updated for CLI display or CSV export.

## City import flow

- CLI import command passes a city name to GridHandler::importCity.

- GridHandler builds an Overpass query and sends it through NetworkClient.

- JsonHandler parses returned JSON.

- GridHandler extracts substations and lines, sanitises names, and writes grid.csv through CSVHandler.

- A later Engine initialisation can load the generated grid.csv.

# 8. Enumerations & Constants

| Name | Value / Type | Description |
| --- | --- | --- |
| GeneratorMode | Enum: Slack, PV, PQ | Determines generator electrical operating role during solving. |
| GeneratorProfile | Enum in Generator | Controls how generator output varies over time; manual/profile behaviour visible in source. |
| LoadProfile | Enum in Load | Controls demand shape over time. |
| Value::Type | Enum in JsonHandler::Value | Represents JSON object, array, string, number, bool, or null. |
| s_uflsStages | Array of UflsStage | Four under-frequency shedding stages: 49.0/10%, 48.7/15%, 48.4/20%, 48.0/30%. |
| S_BASE | 100000.0 | Base apparent power used for per-unit impedance conversion in PowerSolver. |
| DASHBOARD_LINES | 10 | CLI dashboard height constant in main.cpp. |
| DASHBOARD_INNER_WIDTH | 53 | CLI dashboard content width constant in main.cpp. |
| RUN_DASH_INTERVAL_TICKS | 1000 | Dashboard refresh cadence during run command. |
| kEventCsv | "event_log.csv" | Event log output file name. |
| ANSI colour constants | Escape string constants | Used by the CLI dashboard for coloured status output. |
| Random::s_state | 0xCAFEBABE90210ULL initial seed | Initial pseudo-random generator state. |

# 9. Validation Rules & Future Work

| Rule / Planned Feature | Description | Target Release |
| --- | --- | --- |
| CSV row validation | Engine checks row type and minimum field count before constructing grid elements. | Present |
| Null-endpoint protection | Line, Transformer, Breaker, and similar classes exit without computation when required nodes are absent. | Present |
| Y-bus invalidation on topology change | Breaker state changes and tap changes force solver rebuild to avoid stale admittance. | Present |
| OSM import sanitisation | GridHandler removes unsafe characters and normalises names before writing files. | Present |

# 10. Traceability Matrix

| Requirement (derived from implementation scope) | Class / Method (DLD) |
| --- | --- |
| Load a grid from file and start simulation. | Engine::initialise(), CSVHandler::parseCSVLine(), Substation and grid entity constructors |
| Create a fallback demonstration network when no import file is available. | Engine::createDemoGrid(), Engine::configureDemoProfiles() |
| Solve bus voltages and branch flows. | PowerSolver::solve(), buildYBus(), runIteration(), Node::setVoltage(), Line::tick(), Transformer::tick() |
| Allow generator control and frequency response. | Generator::applyDroopResponse(), Engine::applyAGC(), Engine::updateFrequencyDynamics() |
| Allow load modelling and shedding. | Load::tick(), Engine UFLS stages, Engine::processProtectionRelays() |
| Support breaker opening and closing. | Breaker::setOpen(), Engine::openBreakerById(), Engine::closeBreakerById() |
| Import a city grid from OpenStreetMap. | GridHandler::importCity(), fetchOsmData(), generateGridFile(), NetworkClient::post(), JsonHandler::parse() |
| Support command-based inspection and control. | main.cpp command loop, InputHandler::normaliseForComparison(), GridComponent::toString() |
| Export results for analysis. | Engine::appendEventToCsv(), Engine::exportVoltagesToCSV(), CSVHandler::writeRow() |
| Schedule future simulation events. | ScenarioManager::addEvent(), ScenarioManager::update() |

# 11. Code Structure and File Mapping

| Class / Module | File |
| --- | --- |
| GridComponent | grid/GridComponent.hpp (inferred), GridComponent.cpp |
| Substation | grid/Substation.hpp (inferred), Substation.cpp |
| Node | grid/Node.hpp (inferred), Node.cpp |
| Line | grid/Line.hpp (inferred), Line.cpp |
| Transformer | grid/Transformer.hpp (inferred), Transformer.cpp |
| Breaker | grid/Breaker.hpp (inferred), Breaker.cpp |
| Generator | grid/Generator.hpp (inferred), Generator.cpp |
| Load | grid/Load.hpp (inferred), Load.cpp |
| Engine | sim/Engine.hpp (inferred), Engine.cpp |
| PowerSolver | sim/PowerSolver.hpp (inferred), PowerSolver.cpp |
| ScenarioManager | sim/ScenarioManager.hpp (inferred), ScenarioManager.cpp |
| GridHandler | io/GridHandler.hpp (inferred), GridHandler.cpp |
| CSVHandler | io/CSVHandler.hpp (inferred), CSVHandler.cpp |
| JsonHandler | io/JsonHandler.hpp (inferred), JsonHandler.cpp |
| InputHandler | io/InputHandler.hpp (inferred), InputHandler.cpp |
| NetworkClient | io/NetworkClient.hpp (inferred), NetworkClient.cpp |
| Random | util/Random.hpp (inferred), Random.cpp |
| CLI / entry point | main.cpp |

# 12. Revision History

| Date | Version | Change Summary | Author |
| --- | --- | --- | --- |
| 31 Mar 2026 | 1.0 | Completed first filled DLD from uploaded implementation files and inferred header mappings. | Erik-Kristian Kohtala |